NOTIFICATION

Corrigendum

The following communication, received on 11 February 2019, is being circulated at the request of the delegation of the United States of America.

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

TITLE: Energy Conservation Program for Consumer Products: Energy Conservation Standards for Residential Furnace Fans; Correction

AGENCY: Office of Energy Efficiency and Renewable Energy, Department of Energy

ACTION: Final rule; correction; correcting amendment

SUMMARY: On 3 July 2014, the U.S. Department of Energy ("DOE") published a final rule adopting new energy conservation standards for residential furnace fans (hereafter the "July 2014 final rule"). This correction addresses typographical errors that appear in both the preamble of the July 2014 final rule and regulatory text in the Code of Federal Regulations ("CFR"). In certain locations (primarily table headings), the units for fan energy rating ("FER") were inadvertently listed as "Watts/cfm." This document corrects the units designation to "Watts/1000 cfm." Neither the error nor the corrections in this document affect the substance of the energy conservation standards rulemaking or any conclusions reached in support of the final rule.

Effective 7 February 2019.

<https://members.wto.org/crnattachments/2019/TBT/USA/19_0804_00_e.pdf>

**\_\_\_\_\_\_\_\_\_\_**